## Slide 1: Presentation on Research Project Automated Hospital ICU Emergency Signaling System
Supervisors
Dr. Tarem Ahmed, SMIEEE
Dr. Mohammad Faisal Uddin
Presentation by
Nazifa M Shemonti
Saifur Rahman
Shifat Uddin

## Slide 2: KOAD Algorithm Background
Kernel-based Online Anomaly Detection
Development and application in ICU conceptualized by Dr. Ahmed
Previously implemented in network traffic anomaly detection, intruder detection

## Slide 3: KOAD Algorithm Properties
Gaussian Kernel
Evaluate projection error,
Set thresholds and

## Slide 4: KOAD Algorithm Anomaly Detection and Signaling
If <, thenis added to dictionary: “Green”
If <<, thenis an unusual event: “Orange”
If >, thenis an anomaly: “Red1”
“Orange” alarm is further resolved:
  High Kernel value: inserted to dictionary
  Low Kernel value: “Orange” raised to “Red2”

## Slide 5: KOAD Algorithm Case for Hospital ICU Implementation
Tackles storage and computational complexity
Dictionary size does not grow indefinitely
Possible to process multiple readings

## Slide 6: KOAD Algorithm Case for Implementation in Bangladesh
Convenient for hospitals
Manual recording can be phased out
User friendly interface

## Slide 7: ICU Survey
Conducted at:
  Islami Bank Hospital
  Euro-Bangla Heart Hospital
  Chittagong Medical Hospital
  National Heart Foundation Hospital & Research Institute
Outcomes:
  Patient Monitoring Unit (PMU) used
  Method of recording vital statistics

## Slide 8: PMU

## Slide 9: Manual Recording of Vital Statistics at Euro-Bangla Heart Hospital

## Slide 10: NHFH&RI Access
Approvals from both Academic Council and Ethical Review Committee
Conditions:
  Data nondisclosure to third party
  Protect anonymity of subjects
  Follow international guideline for data protection

## Slide 11: Data Extraction Connectivity via LAN

## Slide 12: Data Extraction (Applying Virtual Signal)

## Slide 13: Data Extraction (Debugging Packets)

## Slide 14: Data Extraction (Data Export Test Tool by Philips)

## Slide 15: Data Extraction (Data Export Test Tool by Philips)

## Slide 16: Data Extraction
Map the parameters from the log file
Convert existing MATLAB code to more optimized code readable by microprocessor
Centralize the prototypes into one network

## Slide 17
Automated Hospital ICU Emergency Signalling System
KOAD algorithm computation
Alarm Signal
Processor (Circuit design)
Patient Monitor Unit(PMU)
Converter
LAN
Network Information
RS 232
USB feed
Generic Block Diagram of ICU Emergency Signalling System

## Slide 18
Prototype Design:
Relevant Peripherals Design
Data extraction methodology
Research Goal

## Slide 19
Interface Design:
Maintain Alarming system properties
Approaches for false alarm deduction & reduction
Research Goal

## Slide 20
Interface Design:
Control Room Design
IEC guideline 60601-1-11
Research Goal

## Slide 21
A Humanitarian Project:
Research Publication
Patent
Research Objective

## Slide 22: Questions & Feedbacks